ALU-PLAN®	tender specifications	aluminium flat-profiles

Pos. ______	deliverty and assembly of aluminium flat-profiles

deliverty	type ________-A

material / view side:	 aluminium anodized E6 / EV1

strength (in mm):	 2,0  3,0  4,0  6,0  8,0

height:	________ mm

lengths:	________ lfm

unit price:	________ exemplars / Euro

summary price			____________ Euro

fabricator / proof of delivery:

ALU-PLAN® GmbH

Hohe Straße 7	e-mail: info@alu-plan.de

D-92245 Kümmersbruck	internet: http://www.alu-plan.de

Germany	phone: +49 (0)9624 / 92 234 345

or equivalent according

pos. ______	deliverty and assembly of aluminium flat-profiles

alternativ	how preposition with a powder-coating

type ________-F

on RAL-Card K1 RAL ________ (without metallic-colors)

in metallic-color  RAL 9006  RAL 9007

in DB- color  701  702  703

___ exemplars	exemplars / €	________	€	________

pos. ______	installation of the preposition flat-profiles

installation	on the wall

we recommend that the flat-profiles are glued on,

for example with a polymer S78 adhesive

or an equivalent adhesive material.

exact horizontal measure instruments like a laser-level

as well as detail works, belonged to the achievement

of the bidder.

further the construction management should order

profile-protections (for example foil fixings) against

the paint- or plastering works

further the construction management order the remove

of all profile-protections (for example foil fixings)

unit price:	________ exemplars

summary price			____________ Euro

pos. ___	precise dull bump

production of	with burring the edges

inside corners	and treat with a special lacquer

___ exemplars	exemplars / €	________	€	________

pos. ___	precise dull bump

production of	with burring the edges

outside corners	and treat with a special lacquer

___ exemplars	exemplars / €	________	€	________