ALU-PLAN®	tender specifications	skirtprotection RA

stainless-steel

page 1 of 3

delivery      assembly      installation	please delete unimportant informations

deliverty of

pos. ______	stainless-steel skirtprotection

Typ RA

material:	 stainless-steel well polished 240

with protective foil

strength (in mm):	 1,5  2,0  3,0

width (in mm):	12,0 mm

height (in mm):	________ mm

lengths:	________ lfm

lfm / Euro	__,__	___,__	Euro

fabricator / proof of delivery:

ALU-PLAN GMBH	mail: info@alu-plan.de

Aich 45	internet: http://www.alu-plan.de

D-85667 Oberpframmern	phone: +49 (0)8106 / 305 35 41

Germany	fax: +49 (0)8106 / 305 35 44

or equivalent according

deliverty of

pos. ______	section endings for the skirtprotection of the preposition

at the end of a supplied profile strand

welds cleanly and sanded

___	exemplars	exemplars / Euro	__,__	___,__	Euro

deliverty of

pos. ______	prefabricated outside-corners for the skirtprotection of the preposition

length 240 x 240 mm

welds cleanly and sanded

___	exemplars	Stück / Euro	__,__	___,__	Euro

ALU-PLAN®	tender specifications	skirtprotection RA

stainless-steel

page 2 of 3

delivery      assembly      installation	please delete unimportant informations

manufacture the inside-corners

pos. ______	all inside-corners of the underlyring profiles have to show a bevel cut

each with 2 cuts

all cuts have to be taken from the view side,

so that the scraps are on the back.

during the installation all visible lips have to be deburred cleanly.

___	exemplars	exemplars / Euro	__,__	___,__	Euro

manufacture the outside-corners

pos. ______	all outside-corners of the underlyring profiles have to show a bevel cut

each with 2 cuts

all cuts have to be taken from the view side,

so that the scraps are on the back.

during the installation all visible lips have to be deburred cleanly.

___	exemplars	exemplars / Euro	__,__	___,__	Euro

manufacture a permanent elastic joining	DEV

pos. ______	during the installation the lateral grooves have to be filled

with acryl in the color of the wall.

___	lfm	lfm / Euro	__,__	___,__	Euro

ALU-PLAN®	tender specifications	skirtprotection RA

stainless-steel

page 3 of 3

delivery      assembly      installation	please delete unimportant informations

installation of the stainless-steel skirtprotections of the pre-position

pos. ______	first you have to mount a adapted fermacell-plate or equivalent

on the wall. it can be also a gypsum plasterboard

therefore you have to mount the profile on the mounted bearing

with a polymer S78 adhesive or an equivalent adhesive material.

the upper and lower gypsum boards can be installed

after assembling the skirtprotection-profile

all unevennesses have to be adjusted. therefore use a gypsum

setting binder for gypsum boards.

the installation must take place on an exact meter tear on all walls,

for example by using a laser control unit.

further, the construction management should order

profile-protections (for example foil fixings) against

the paint- or plastering works.

all protectives have to be removed only on arrangement

by the construction management.

___	lfm	lfm / Euro	__,__	___,__	Euro