ALU-PLAN®	tender specifications	column rings SR-B-E

page 1 of 1

pos. ______	deliverty and assembly of stainless-steel column rings

deliverty	type SR-B-E

deliverty of 2 semi-circle-rings for each column – material 4301
	exactly tailored for a precise fitting at both column ring sides

material / view side:	 stainless-steel well polished 240

with protective foil

d strength (in mm):	 2,0  3,0

a height (in mm):	________ mm

max. 160,0 mm

e base additive (in mm):	________ mm

between 10,0 and 15,0 mm

x column diameter (in mm):	________ mm

min. 230,0 mm based on d = 2,0 mm

min. 250,0 mm based on d = 3,0 mm

amount / exemplars:	________ exemplars

unit price:	________ exemplars / Euro

summary price			____________ Euro

fabricator / proof of delivery:

ALU-PLAN® GmbH

Hohe Straße 7	e-mail: info@alu-plan.de

D-92245 Kümmersbruck	internet: http://www.alu-plan.de

Germany	phone: +49 (0)9624 / 92 234 345

or equivalent according

pos. ______	installation of the preposition stainless-steel column rings

installation	on the wall

we recommend that the corner beads are stuck on,

for example with a polymer S78 adhesive

or an equivalent adhesive material.

further the construction management order the remove

of all profile-protections (for example foil fixings)

unit price:	________ exemplars

summary price			____________ Euro

pos. ______	produce of timeless-elastic grouting

during the installation all gaps between the column rings and

lateral grooves have to be filled with acryl in the color of the wall

lengths:	________ lfm

unit price (lfm):	________ lfm / Euro

summary price			____________ Euro