ALU-PLAN®	tender specifications	column rings SR-C-ELO

page 1 of 2

pos. ______	deliverty and assembly of aluminium column rings

deliverty	type SR-C-ELO

deliverty of 2 semi-circle-rings for each column

with 1-lateral projection for adapting it to the column

material / view side:	 aluminium anodized E6 / EV1

d strength (in mm):	 2,0  3,0

a height (in mm):	________ mm

max. 160,0 mm

e base additive (in mm):	________ mm

between 10,0 and 15,0 mm

x column diameter (in mm):	________ mm

min. 230,0 mm based on d = 2,0 mm

min. 250,0 mm based on d = 3,0 mm

amount / exemplars:	________ exemplars

unit price:	________ exemplars / Euro

summary price			____________ Euro

fabricator / proof of delivery:

ALU-PLAN® GmbH

Hohe Straße 7	e-mail: info@alu-plan.de

D-92245 Kümmersbruck	internet: http://www.alu-plan.de

Germany	phone: +49 (0)9624 / 92 234 345

or equivalent according

pos. ______	deliverty and assembly of aluminium column rings

alternativ	how preposition with a powder-coating type SR-C-F

on RAL-Card K1 RAL ________ (without metallic-colors)

in metallic-color  RAL 9006  RAL 9007

in DB- color  701  702  703

___ exemplars	exemplars / €	________	€	________

pos. ______	installation of the preposition aluminium column rings

installation	on the wall

we recommend that the corner beads are stuck on,

for example with a polymer S78 adhesive

or an equivalent adhesive material.

further the construction management should order

profile-protections (for example foil fixings) against

the paint- or plastering works

further the construction management order the remove

of all profile-protections (for example foil fixings)

unit price:	________ exemplars

summary price			____________ Euro

ALU-PLAN®	tender specifications	column rings SR-C-A

page 2 of 2

pos. ___	for each semi-circle ring a properly matching cut

production of	including burring the edges

column rings	and treat with a special lacquer.

___ Stück	Stück / €	________	____________ Euro

pos. ______	produce of timeless-elastic grouting

during the installation all gaps between the column rings and

lateral grooves have to be filled with acryl in the color of the wall

lengths:	________ lfm

unit price (lfm):	________ lfm / Euro

summary price			____________ Euro