ALU-PLAN®	tender specifications	on-wall baseboards

B series / aluminium

page 1 of 3

delivery      assembly      installation	please delete unimportant informations

deliverty of

pos. ______	aluminium baseboards

type ________

material:	 aluminium anodized E6 / EV1

width (in mm):	________ mm

height (in mm):	________ mm

lengths:	________ lfm

lfm / Euro	__,__	___,__	Euro

fabricator / proof of delivery:

ALU-PLAN® GmbH

Hohe Straße 7	e-mail: info@alu-plan.de

D-92245 Kümmersbruck	internet: http://www.alu-plan.de

Germany	phone: +49 (0)9624 / 92 234 345

or equivalent according

deliverty of

pos. ______	aluminium baseboards like preposition

alternativ	with a powder-coating

type ________-F

on RAL-Card K1 RAL ________ (without metallic-colors)

in metallic-color  RAL 9006  RAL 9007

in DB-color  701  702  703

lfm / Euro	__,__	___,__	Euro

ALU-PLAN®	tender specifications	on-wall baseboards

B series / aluminium

page 2 of 3

delivery      assembly      installation	please delete unimportant informations

manufacture the inside-corners

pos. ______	all inside-corners of the underlyring profiles have to show a bevel cut

each with 2 cuts

all cuts have to be taken from the view side,

so that the scraps are on the back.

during the installation all visible lips have to be deburred cleanly

and be treated with a special lacquer.

___	exemplars	exemplars / Euro	__,__	___,__	Euro

manufacture the outside-corners

pos. ______	all outside-corners of the underlyring profiles have to show a bevel cut

each with 2 cuts

all cuts have to be taken from the view side,

so that the scraps are on the back.

during the installation all visible lips have to be deburred cleanly

and be treated with a special lacquer.

___	exemplars	exemplars / Euro	__,__	___,__	Euro

ALU-PLAN®	tender specifications	on-wall baseboards

B series / aluminium

page 3 of 3

delivery      assembly      installation	please delete unimportant informations

installation of the aluminium baseboards of the pre-position – on-wall mounted

Pos. ______	the profiles have to be screwed on with anchors

in suitable height horizontal and flushed over floor- height.

alternativ the profiles could be glued on the wall

with a polymer S78 adhesive or an equivalent adhesive material.

all unevennesses have to be adjusted. therefore use a gypsum

setting binder for gypsum boards.

the installation must take place on an exact meter tear on all walls,

for example by using a laser control unit.

further, the construction management should order

profile-protections (for example foil fixings) against

the paint- or plastering works.

all protectives have to be removed only on arrangement

by the construction management.

___	lfm	lfm / Euro	__,__	___,__	Euro

assembly of the flooring inserts

All profile are mounted before flooring work.

During the assembly of the flooring

(PVC, carpet, laminate / wood)

the flooring inserts have to bring horizontal into the profile

by sticking them on with a considered expansion tolerance,

if necessary expansion joint.

___	lfm	lfm / Euro	__,__	___,__	Euro