ALU-PLAN®	tender specifications	baseboards

C series / aluminium

stainless-steel surface

page 1 of 3

delivery      assembly      installation	please delete unimportant informations

deliverty of

pos. ______	stainless-steel baseboards

type ________

surface:	 1,5mm stainless-steel well polished 240

underlying profile:	 aluminium pressmade

width (in mm):	________ mm

height (in mm):	________ mm

lengths:	________ lfm

lfm / Euro	__,__	___,__	Euro

fabricator / proof of delivery:

ALU-PLAN® GmbH

Hohe Straße 7	e-mail: info@alu-plan.de

D-92245 Kümmersbruck	internet: http://www.alu-plan.de

Germany	phone: +49 (0)9624 / 92 234 345

or equivalent according

ALU-PLAN®	tender specifications	baseboards

C series / aluminium

stainless-steel surface

page 2 of 3

delivery      assembly      installation	please delete unimportant informations

manufacture the inside-corners	E_MI_G05

pos. ______	all inside-corners of the underlyring profiles have to show a bevel cut

each with 2 cuts

the stainless-steel surfaces have to be mounted on stump

all cuts have to be taken from the view side,

so that the scraps are on the back.

during the installation all visible lips have to be deburred cleanly.

___	exemplars	exemplars / Euro	__,__	___,__	Euro

manufacture the outside-corners	E_MA_G05

pos. ______	all outside-corners of the underlyring profiles have to show a bevel cut

each with 2 cuts

the stainless-steel surfaces have to be mounted on stump

all cuts have to be taken from the view side,

so that the scraps are on the back.

during the installation all visible lips have to be deburred cleanly.

___	exemplars	exemplars / Euro	__,__	___,__	Euro

manufacture the outside-corners – 90° degree bending	E_MA_A90

pos. ______	all outside-corners of the underlyring profiles have to show a bevel cut

each with 2 cuts

the stainless-steel surfaces have to be bent with a bender on 90° degrees.

(possible only up to 1.5 mm strength)

___	exemplars	exemplars / Euro	__,__	___,__	Euro

ALU-PLAN®	tender specifications	baseboards

C series / aluminium

stainless-steel surface

page 3 of 3

delivery      assembly      installation	please delete unimportant informations

installation of the baseboards of the pre-position – flush-mounted	E_M_06

pos. ______	the underlying-profiles have to be screwed on the first gypsum cardboard

in suitable height horizontal and flushed over floor- height.

the underlying profiles have to be mounted succinct on the floating screed

the second gypsum cardboards lie close on top the underlying-profiles

all unevennesses have to be adjusted. therefore use a gypsum

setting binder for gypsum boards.

the installation must take place on an exact meter tear on all walls,

for example by using a laser control unit.

the stainless-steel surfaces have to be glued on the underlying profile

with a polymer S78 adhesive or an equivalent adhesive material.

further, the construction management should order

profile-protections (for example foil fixings) against

the paint- or plastering works.

all protectives have to be removed only on arrangement

by the construction management.

___	lfm	lfm / Euro	__,__	___,__	Euro