ALU-PLAN®	tender specifications	flush baseboards

X series / aluminium

page 1 of 3

delivery      assembly      installation	please delete unimportant informations

deliverty of

pos. ______	aluminium baseboards

type ________

surface:	 aluminium anodized E6 / EV1

underlying profile:	 aluminium pressmade

width (in mm):	________ mm

height (in mm):	________ mm

lengths:	________ lfm

lfm / Euro	__,__	___,__	Euro

fabricator / proof of delivery:

ALU-PLAN® GmbH

Hohe Straße 7	e-mail: info@alu-plan.de

D-92245 Kümmersbruck	internet: http://www.alu-plan.de

Germany	phone: +49 (0)9624 / 92 234 345

or equivalent according

deliverty of

pos. ______	aluminium baseboards like preposition

alternativ	with a powder-coating

type ________-F

on RAL-Card K1 RAL ________ (without metallic-colors)

in metallic-color  RAL 9006  RAL 9007

in DB-color  701  702  703

lfm / Euro	__,__	___,__	Euro

ALU-PLAN®	tender specifications	inbuilt baseboards

X-F series / aluminium

page 2 of 3

delivery      assembly      installation	please delete unimportant informations

manufacture the inside-corners

pos. ______	all inside-corners of the underlyring profiles have to show a bevel cut

each with 2 cuts

the aluminium surfaces could be mounted on stump

by keeping consideration for cable inserts

all cuts have to be taken from the view side,

so that the scraps are on the back.

during the installation all visible lips have to be deburred cleanly

and be treated with a special lacquer.

___	exemplars	exemplars / Euro	__,__	___,__	Euro

manufacture the outside-corners

pos. ______	all outside-corners of the underlyring profiles have to show a bevel cut

each with 2 cuts

the aluminium surfaces have to be mounted by bevel cut

all cuts have to be taken from the view side,

so that the scraps are on the back.

during the installation all visible lips have to be deburred cleanly

and be treated with a special lacquer.

___	exemplars	exemplars / Euro	__,__	___,__	Euro

ALU-PLAN®	Ausschreibungsunterlage	Unterputzsockelleisten

Serie X-F / Aluminium

Seite 3 von 3

Lieferung      Herstellung      Montage	nicht zutreffendes bitte streichen

installation of the aluminium baseboards of the pre-position – flush-mounted

pos. ______	the profiles have to be screwed on with anchors

in suitable height horizontal and flushed over floor- height.

tolerances with ________ mm must be announced

to the construction management.

all unevennesses have to be adjusted.

please use the drilling notch for screwing the profile

please protect the aluminium-bars bevor using a screeding compound

here you can use a acidless oil.

the installation must take place on an exact meter tear on all walls,

for example by using a laser control unit.

finaly all cut profiles can be mounted

by pressing them on the clips

further, the construction management should order

profile-protections (for example foil fixings) against

the paint- or plastering works.

all protectives have to be removed only on arrangement

by the construction management.

___	lfm	lfm / Euro	__,__	___,__	Euro